## Slide 1
CAMPUS ENERGY
SAVING SYSTEM
IoT + Smart Control + Solar + Data Analytics
A technical concept for reducing electricity waste across classrooms, laboratories, hostels and common areas.
☀
✓
SMART CAMPUS
Measure → Analyze → Automate → Save
Technical Presentation • 5 slides
1/5

## Slide 2
1. Why a Campus Needs Smart Energy Management
Problem → measurable energy waste
Typical high-consumption zones
1
Classrooms
Lights + fans + AC
2
Laboratories
Equipment + ventilation
3
Hostels
24/7 occupancy variation
4
Outdoor areas
Street + pathway lighting
Common waste: lights / HVAC left ON in empty spaces
Core idea
Instead of asking people to remember every switch, the system uses sensors and software to decide when energy is actually needed.
S
SENSE
Occupancy, light, temperature & power meters
T
THINK
Rules, schedules & analytics predict demand
A
ACT
Smart relays control lights, fans & HVAC
2/5

## Slide 3
2. Technical Architecture
End-to-end energy saving and control loop
SENSORS
• PIR / occupancy
• LDR / daylight
• Temperature
• Smart energy meter
EDGE / GATEWAY
• ESP32 / gateway
• Filter & aggregate
• Local safety rules
CLOUD / EMS
• Database
• Dashboard
• Analytics / ML
• Alerts
CONTROLLER
• Scheduling
• Load priority
• Demand response
LOADS
• LED
• Fans
• HVAC
• Pumps
›
›
›
›
☀
SOLAR PV
Generate clean power during daylight
B
BATTERY
Store surplus → support peak periods
POWER FLOW
Solar → Loads Solar → Battery → Loads Grid → Loads when required
Communication can use Wi‑Fi, Ethernet, Zigbee or LoRa; MQTT is a common lightweight messaging option.
3/5

## Slide 4
3. How the Power-Saving System Works
A simple automatic decision cycle
1
Detect
Room occupied? Daylight level?
2
Measure
Power + temp. + runtime
3
Decide
Rules + schedule + demand forecast
4
Control
Dim / OFF / adjust HVAC & loads
EMS
Energy Management System
• If a classroom is empty, lights and non-critical loads are switched off or dimmed.
• If daylight is sufficient, lighting output is reduced before using grid power.
• HVAC can follow occupancy, temperature and operating schedules instead of running continuously.
• The dashboard compares buildings, identifies abnormal consumption and sends alerts.
Goal: maintain comfort + safety while eliminating avoidable runtime.
4/5

## Slide 5
5. STUDENT AWARENESS • POWER THE CHANGE
Small actions + smart automation = a truly energy-aware campus
SMART CAMPUS • 5/5
Students are the human sensor layer
Notice → Act → Share → Track
💡
SWITCH SMART
Turn OFF lights, fans & screens when leaving.
☀
USE DAYLIGHT
Open blinds / use natural light before extra lighting.
❄
SAVE HVAC
Keep doors closed and use scheduled cooling.
📊
CHECK & SHARE
Spot waste, report it and watch the dashboard.
ENERGY HERO CHALLENGE
Can you find the waste?
!
Tap the waste points →
LIGHT
SWITCH
FAN
🎯 MAKE THIS PRESENTATION AS MOTIVATION AND MAKE THE CAMPUS WITH POWER SAVING AWARENESS
TEAM GOAL → LESS WASTE • MORE IMPACT
Awareness loop: Spot waste → Take action → Report → Celebrate savings