## Dashboard
CAMPUS ENERGY SAVING SYSTEM — EXCEL DASHBOARD
Measure → Analyze → Automate → Save
Total Before | Total After | Energy Saved |  |  | Overall Saving
11642.5 | 10180.1 | 1462.1 |  |  | 12.56%
KEY TRENDS TO PRESENT |  |  | ENGINEERING INTERPRETATION
1. Before vs after smart control shows the measurable effect. |  |  | SENSE | PIR occupancy + LDR daylight + temperature + smart meter
2. Rank zones to identify the highest energy-consuming area. |  |  | ANALYZE | kWh + occupancy + runtime + peak demand
3. Compare lighting, fans, HVAC and plug/lab loads. |  |  | ACT | Smart relays, dimming, HVAC schedules
4. Link occupancy with energy to detect avoidable runtime. |  |  | VERIFY | Measure before/after and saving %
5. Track daily patterns and peak periods. |  |  | IMPROVE | Tune rules and scale from one block to campus
6. Report kWh saved and saving % instead of vague claims.

## Sample Data
CAMPUS ENERGY SAVING SYSTEM — SAMPLE DATA
Date | Day | Zone | Occupancy (%) | Lighting (kWh) | Fans (kWh) | HVAC (kWh) | Plug/Lab Loads (kWh) | Total Before (kWh) | Smart Control Saving (kWh) | Total After (kWh) | Saving (%)
2026-08-01 | Saturday | Classroom Block | 48 | 30.7 | 22.5 | 29.2 | 17.4 | 99.9 | 14 | 85.9 | 13.97%
2026-08-01 | Saturday | Laboratory | 46 | 21.7 | 14.3 | 15.6 | 40.9 | 92.5 | 9.1 | 83.4 | 9.849%
2026-08-01 | Saturday | Hostel | 50 | 24.2 | 19.9 | 22.5 | 32.2 | 98.8 | 10.5 | 88.3 | 10.65%
2026-08-01 | Saturday | Library/Admin | 40 | 17.7 | 11.4 | 15.5 | 13.9 | 58.5 | 6.9 | 51.6 | 11.73%
2026-08-02 | Sunday | Classroom Block | 42 | 28.5 | 21.7 | 24.9 | 14.5 | 89.6 | 15.8 | 73.9 | 17.58%
2026-08-02 | Sunday | Laboratory | 33 | 20.1 | 13.3 | 14.3 | 37.2 | 84.9 | 11.1 | 73.8 | 13.06%
2026-08-02 | Sunday | Hostel | 66 | 27.4 | 22.4 | 22.3 | 31.4 | 103.5 | 9.4 | 94.1 | 9.071%
2026-08-02 | Sunday | Library/Admin | 40 | 16.8 | 10.9 | 15.4 | 9.9 | 53.1 | 8.2 | 44.9 | 15.4%
2026-08-03 | Monday | Classroom Block | 58 | 37.7 | 29.5 | 29.1 | 18.5 | 114.7 | 17.1 | 97.6 | 14.94%
2026-08-03 | Monday | Laboratory | 48 | 24.6 | 18.4 | 16.1 | 42 | 101.2 | 12.1 | 89.1 | 11.94%
2026-08-03 | Monday | Hostel | 67 | 31 | 24.6 | 26.9 | 35 | 117.5 | 13.6 | 103.9 | 11.59%
2026-08-03 | Monday | Library/Admin | 50 | 21.4 | 14.2 | 15.2 | 12.4 | 63.1 | 9.9 | 53.2 | 15.7%
2026-08-04 | Tuesday | Classroom Block | 64 | 39.6 | 28.1 | 29.6 | 18.7 | 116.1 | 19.4 | 96.6 | 16.74%
2026-08-04 | Tuesday | Laboratory | 67 | 27.1 | 19.7 | 21.7 | 47.8 | 116.4 | 11.2 | 105.2 | 9.613%
2026-08-04 | Tuesday | Hostel | 80 | 35.5 | 26.4 | 25.7 | 33.7 | 121.3 | 10.8 | 110.5 | 8.937%
2026-08-04 | Tuesday | Library/Admin | 63 | 22.4 | 16.3 | 14.1 | 11.1 | 63.8 | 8.8 | 55.1 | 13.75%
2026-08-05 | Wednesday | Classroom Block | 73 | 39.6 | 30.9 | 30.1 | 18.5 | 119.1 | 20.3 | 98.8 | 17.03%
2026-08-05 | Wednesday | Laboratory | 57 | 25.9 | 18 | 19.9 | 43.2 | 107 | 11 | 96 | 10.26%
2026-08-05 | Wednesday | Hostel | 87 | 36.3 | 27.8 | 26 | 34.8 | 124.9 | 9.4 | 115.5 | 7.52%
2026-08-05 | Wednesday | Library/Admin | 53 | 21.9 | 13.7 | 14.6 | 10.9 | 61.1 | 9.6 | 51.4 | 15.8%
2026-08-06 | Thursday | Classroom Block | 75 | 42.4 | 31.4 | 32.3 | 20.3 | 126.4 | 23.1 | 103.3 | 18.26%
2026-08-06 | Thursday | Laboratory | 67 | 27.6 | 19.7 | 21.6 | 45 | 113.9 | 14.4 | 99.5 | 12.67%
2026-08-06 | Thursday | Hostel | 67 | 34.6 | 24.3 | 23.1 | 31.6 | 113.5 | 11.9 | 101.6 | 10.5%
2026-08-06 | Thursday | Library/Admin | 43 | 18.7 | 12.1 | 11.1 | 11.6 | 53.4 | 6.2 | 47.2 | 11.63%
2026-08-07 | Friday | Classroom Block | 62 | 37.1 | 28.4 | 29.9 | 16.8 | 112.2 | 17.2 | 95 | 15.32%
2026-08-07 | Friday | Laboratory | 49 | 25.1 | 19.2 | 16.2 | 43.8 | 104.3 | 11.5 | 92.8 | 11.06%
2026-08-07 | Friday | Hostel | 70 | 32.6 | 24.2 | 23 | 35.5 | 115.4 | 9.6 | 105.8 | 8.307%
2026-08-07 | Friday | Library/Admin | 40 | 21.5 | 12.5 | 11.8 | 13.1 | 59 | 9.5 | 49.5 | 16.07%
2026-08-08 | Saturday | Classroom Block | 62 | 35.8 | 27.3 | 29.5 | 17.7 | 110.3 | 16.3 | 93.9 | 14.81%
2026-08-08 | Saturday | Laboratory | 39 | 20.1 | 14.1 | 19 | 40.3 | 93.6 | 11.2 | 82.3 | 12.01%
2026-08-08 | Saturday | Hostel | 68 | 30.2 | 23.6 | 23.4 | 33.7 | 110.9 | 12.8 | 98.1 | 11.53%
2026-08-08 | Saturday | Library/Admin | 34 | 15.6 | 11.2 | 14 | 10.5 | 51.3 | 6 | 45.3 | 11.64%
2026-08-09 | Sunday | Classroom Block | 38 | 29 | 21.2 | 26.8 | 15.8 | 92.8 | 14.1 | 78.7 | 15.22%
2026-08-09 | Sunday | Laboratory | 51 | 24.2 | 15.8 | 20.8 | 40.7 | 101.5 | 10.8 | 90.7 | 10.63%
2026-08-09 | Sunday | Hostel | 54 | 26.5 | 21.7 | 22 | 30.9 | 101.2 | 7.6 | 93.6 | 7.51%
2026-08-09 | Sunday | Library/Admin | 42 | 18.2 | 12.8 | 12.7 | 9.7 | 53.4 | 7.2 | 46.2 | 13.44%
2026-08-10 | Monday | Classroom Block | 78 | 42.1 | 31.1 | 33.3 | 20 | 126.5 | 19.2 | 107.3 | 15.16%
2026-08-10 | Monday | Laboratory | 69 | 27.9 | 21.6 | 19.8 | 48.4 | 117.8 | 12.2 | 105.6 | 10.35%
2026-08-10 | Monday | Hostel | 70 | 33.6 | 24.8 | 22.7 | 34.7 | 115.7 | 12.2 | 103.5 | 10.56%
2026-08-10 | Monday | Library/Admin | 59 | 22.9 | 14.3 | 17.4 | 13.3 | 67.9 | 8.3 | 59.6 | 12.15%
2026-08-11 | Tuesday | Classroom Block | 56 | 38.1 | 26.8 | 29.8 | 18.4 | 113.1 | 16.1 | 97.1 | 14.2%
2026-08-11 | Tuesday | Laboratory | 52 | 24.4 | 17.4 | 20.1 | 43.4 | 105.3 | 11.3 | 94.1 | 10.7%
2026-08-11 | Tuesday | Hostel | 84 | 36 | 28 | 26.1 | 33.4 | 123.5 | 13.8 | 109.7 | 11.2%
2026-08-11 | Tuesday | Library/Admin | 54 | 22.9 | 14.4 | 15.3 | 14.4 | 67 | 10.6 | 56.3 | 15.89%
2026-08-12 | Wednesday | Classroom Block | 60 | 38.2 | 27.3 | 29.2 | 17.1 | 111.8 | 16.1 | 95.7 | 14.42%
2026-08-12 | Wednesday | Laboratory | 46 | 23.2 | 16.3 | 19.2 | 44 | 102.8 | 10.4 | 92.4 | 10.1%
2026-08-12 | Wednesday | Hostel | 67 | 32.7 | 24.6 | 23.7 | 35 | 116.1 | 9.3 | 106.8 | 8.031%
2026-08-12 | Wednesday | Library/Admin | 57 | 20.8 | 13.2 | 12.6 | 10.9 | 57.5 | 7.9 | 49.6 | 13.76%
2026-08-13 | Thursday | Classroom Block | 56 | 38.8 | 27.8 | 29.6 | 17.7 | 114 | 18.3 | 95.8 | 16.03%
2026-08-13 | Thursday | Laboratory | 62 | 26.3 | 19.4 | 18.1 | 47.7 | 111.5 | 13.4 | 98 | 12.04%
2026-08-13 | Thursday | Hostel | 73 | 35.3 | 26.7 | 26.4 | 33.1 | 121.5 | 12.5 | 109 | 10.3%
2026-08-13 | Thursday | Library/Admin | 46 | 19.1 | 12.4 | 15.5 | 12.1 | 59.1 | 7 | 52.1 | 11.86%
2026-08-14 | Friday | Classroom Block | 63 | 37.6 | 28.7 | 29.2 | 15.7 | 111.2 | 19.3 | 91.9 | 17.38%
2026-08-14 | Friday | Laboratory | 68 | 27.6 | 19.4 | 21 | 45.3 | 113.3 | 13.4 | 99.9 | 11.84%
2026-08-14 | Friday | Hostel | 89 | 36.4 | 27.8 | 29.9 | 38.6 | 132.7 | 15.5 | 117.2 | 11.66%
2026-08-14 | Friday | Library/Admin | 45 | 22.4 | 13.2 | 14.8 | 12 | 62.3 | 8.3 | 54 | 13.28%
2026-08-15 | Saturday | Classroom Block | 40 | 27.6 | 22.7 | 26.8 | 15.1 | 92.1 | 12.5 | 79.6 | 13.59%
2026-08-15 | Saturday | Laboratory | 38 | 19.7 | 16.2 | 17 | 38 | 90.9 | 12.8 | 78.1 | 14.09%
2026-08-15 | Saturday | Hostel | 55 | 25.2 | 19.7 | 25.3 | 28.2 | 98.4 | 11.2 | 87.2 | 11.39%
2026-08-15 | Saturday | Library/Admin | 30 | 17.5 | 11.8 | 13.7 | 11.9 | 55 | 8.9 | 46 | 16.23%
2026-08-16 | Sunday | Classroom Block | 50 | 33.2 | 24.4 | 25.6 | 17 | 100.1 | 14 | 86.2 | 13.95%
2026-08-16 | Sunday | Laboratory | 29 | 18 | 15 | 17.4 | 37.4 | 87.7 | 8.4 | 79.3 | 9.584%
2026-08-16 | Sunday | Hostel | 50 | 24.3 | 20.8 | 23.8 | 27.8 | 96.6 | 11.4 | 85.2 | 11.81%
2026-08-16 | Sunday | Library/Admin | 36 | 18.9 | 11.1 | 10.5 | 13.4 | 53.9 | 7.9 | 46 | 14.61%
2026-08-17 | Monday | Classroom Block | 57 | 36.4 | 27 | 28.7 | 15.6 | 107.6 | 14.8 | 92.8 | 13.75%
2026-08-17 | Monday | Laboratory | 52 | 26.1 | 18.2 | 20.6 | 43 | 107.9 | 12.7 | 95.3 | 11.73%
2026-08-17 | Monday | Hostel | 87 | 35.8 | 26.1 | 25.8 | 34.7 | 122.3 | 9.3 | 113 | 7.577%
2026-08-17 | Monday | Library/Admin | 63 | 24.7 | 15.2 | 15.3 | 12 | 67.2 | 9.2 | 58 | 13.74%
2026-08-18 | Tuesday | Classroom Block | 77 | 41.7 | 31.9 | 33.5 | 20.2 | 127.2 | 19.7 | 107.5 | 15.47%
2026-08-18 | Tuesday | Laboratory | 62 | 26.1 | 18.6 | 18.6 | 44.6 | 107.9 | 15 | 92.9 | 13.91%
2026-08-18 | Tuesday | Hostel | 89 | 36.4 | 27.3 | 28.3 | 34 | 126 | 10.3 | 115.7 | 8.149%
2026-08-18 | Tuesday | Library/Admin | 42 | 21.5 | 12.9 | 14.1 | 10 | 58.6 | 8.7 | 49.9 | 14.83%
2026-08-19 | Wednesday | Classroom Block | 68 | 40.6 | 29.6 | 32.2 | 16.7 | 119 | 17.8 | 101.2 | 14.97%
2026-08-19 | Wednesday | Laboratory | 60 | 26 | 17.7 | 17.8 | 45.1 | 106.5 | 11.9 | 94.6 | 11.14%
2026-08-19 | Wednesday | Hostel | 83 | 33.8 | 28 | 25.9 | 34 | 121.8 | 10.3 | 111.6 | 8.415%
2026-08-19 | Wednesday | Library/Admin | 50 | 21 | 13.9 | 13.6 | 11.1 | 59.6 | 8.4 | 51.2 | 14.02%
2026-08-20 | Thursday | Classroom Block | 56 | 38.4 | 26.9 | 26.3 | 17.6 | 109.3 | 16.9 | 92.4 | 15.47%
2026-08-20 | Thursday | Laboratory | 55 | 25 | 18.8 | 17.8 | 45.1 | 106.7 | 14.1 | 92.6 | 13.25%
2026-08-20 | Thursday | Hostel | 87 | 37.5 | 27.8 | 29.3 | 37.3 | 131.9 | 14.6 | 117.3 | 11.1%
2026-08-20 | Thursday | Library/Admin | 55 | 22.6 | 14.8 | 12.9 | 10.6 | 60.9 | 9.5 | 51.3 | 15.68%
2026-08-21 | Friday | Classroom Block | 72 | 41.7 | 31.9 | 31.7 | 16.4 | 121.7 | 19.6 | 102.1 | 16.12%
2026-08-21 | Friday | Laboratory | 62 | 28.5 | 17.9 | 19.9 | 47 | 113.4 | 15.3 | 98.1 | 13.49%
2026-08-21 | Friday | Hostel | 88 | 37.4 | 26.8 | 28.4 | 33.7 | 126.3 | 10.3 | 116 | 8.165%
2026-08-21 | Friday | Library/Admin | 51 | 20.7 | 13.9 | 16.6 | 10.4 | 61.5 | 7.1 | 54.4 | 11.59%
2026-08-22 | Saturday | Classroom Block | 55 | 32.5 | 23.5 | 29.1 | 17.8 | 102.8 | 17.7 | 85.1 | 17.24%
2026-08-22 | Saturday | Laboratory | 44 | 19.8 | 15.5 | 19.5 | 42.2 | 97 | 11.5 | 85.5 | 11.87%
2026-08-22 | Saturday | Hostel | 50 | 24.9 | 20.5 | 24 | 28.6 | 97.9 | 10.5 | 87.4 | 10.75%
2026-08-22 | Saturday | Library/Admin | 36 | 16.4 | 11.3 | 12.9 | 12.3 | 52.9 | 8.1 | 44.7 | 15.33%
2026-08-23 | Sunday | Classroom Block | 57 | 31.7 | 25.6 | 29.2 | 15.5 | 102.1 | 17.1 | 85 | 16.76%
2026-08-23 | Sunday | Laboratory | 50 | 22.5 | 14.7 | 17.2 | 39.7 | 94.1 | 10.2 | 83.9 | 10.84%
2026-08-23 | Sunday | Hostel | 69 | 27.9 | 22.3 | 22.9 | 33.1 | 106.2 | 9.5 | 96.7 | 8.928%
2026-08-23 | Sunday | Library/Admin | 36 | 15.4 | 12.5 | 12.8 | 9.8 | 50.5 | 8.3 | 42.2 | 16.39%
2026-08-24 | Monday | Classroom Block | 71 | 40.4 | 31.7 | 28.5 | 20.5 | 121.1 | 19.1 | 102 | 15.75%
2026-08-24 | Monday | Laboratory | 54 | 27.6 | 19.7 | 18.1 | 42.6 | 108 | 10.8 | 97.3 | 9.952%
2026-08-24 | Monday | Hostel | 89 | 38.6 | 26.7 | 27.8 | 37.8 | 130.8 | 13.1 | 117.7 | 10.04%
2026-08-24 | Monday | Library/Admin | 43 | 19.1 | 14.4 | 14.6 | 12.2 | 60.3 | 7 | 53.3 | 11.62%
2026-08-25 | Tuesday | Classroom Block | 56 | 37.9 | 27.7 | 30.6 | 18.3 | 114.5 | 17.8 | 96.7 | 15.58%
2026-08-25 | Tuesday | Laboratory | 58 | 27.9 | 17.4 | 18.2 | 46.7 | 110.2 | 15.1 | 95.1 | 13.7%
2026-08-25 | Tuesday | Hostel | 69 | 31.8 | 23.3 | 27.1 | 35 | 117.2 | 10.3 | 106.9 | 8.766%
2026-08-25 | Tuesday | Library/Admin | 42 | 22 | 13.4 | 12.9 | 11.5 | 59.9 | 8.2 | 51.7 | 13.64%
2026-08-26 | Wednesday | Classroom Block | 64 | 38.1 | 28.1 | 31.5 | 18.5 | 116.2 | 19.4 | 96.8 | 16.67%
2026-08-26 | Wednesday | Laboratory | 50 | 24.3 | 17.9 | 17 | 42.5 | 101.8 | 11.6 | 90.2 | 11.37%
2026-08-26 | Wednesday | Hostel | 79 | 36.2 | 26.7 | 28.2 | 37 | 128.1 | 15.6 | 112.4 | 12.2%
2026-08-26 | Wednesday | Library/Admin | 57 | 20.3 | 15.9 | 13.3 | 12.5 | 62 | 9 | 53 | 14.57%
2026-08-27 | Thursday | Classroom Block | 60 | 37.2 | 27.4 | 29.7 | 19.6 | 113.9 | 16.1 | 97.8 | 14.14%
2026-08-27 | Thursday | Laboratory | 61 | 26.2 | 18.5 | 19 | 47.1 | 110.9 | 14.2 | 96.7 | 12.76%
2026-08-27 | Thursday | Hostel | 78 | 33.9 | 26.3 | 26.9 | 34.3 | 121.5 | 10.1 | 111.3 | 8.337%
2026-08-27 | Thursday | Library/Admin | 45 | 20.4 | 14.4 | 11.6 | 12.6 | 59 | 8.1 | 50.9 | 13.76%
2026-08-28 | Friday | Classroom Block | 66 | 39.2 | 28.8 | 32.5 | 16.3 | 116.8 | 16.3 | 100.5 | 13.95%
2026-08-28 | Friday | Laboratory | 56 | 25.5 | 18.3 | 19.2 | 46.7 | 109.6 | 11.5 | 98.1 | 10.51%
2026-08-28 | Friday | Hostel | 66 | 32.1 | 24.1 | 25.7 | 33.5 | 115.5 | 10.8 | 104.6 | 9.384%
2026-08-28 | Friday | Library/Admin | 50 | 21.1 | 14.2 | 15.4 | 11.9 | 62.5 | 9.3 | 53.2 | 14.93%
2026-08-29 | Saturday | Classroom Block | 54 | 33.8 | 24 | 28.7 | 15.1 | 101.5 | 15 | 86.5 | 14.74%
2026-08-29 | Saturday | Laboratory | 40 | 20.6 | 14.4 | 17.8 | 41.9 | 94.7 | 13.6 | 81.1 | 14.34%
2026-08-29 | Saturday | Hostel | 52 | 27.1 | 21.2 | 20.2 | 30 | 98.5 | 10.3 | 88.2 | 10.44%
2026-08-29 | Saturday | Library/Admin | 22 | 17 | 11.4 | 9.6 | 10.8 | 48.8 | 6.8 | 42 | 13.84%
2026-08-30 | Sunday | Classroom Block | 52 | 30.4 | 23.5 | 26.4 | 16.2 | 96.4 | 16.3 | 80.1 | 16.91%
2026-08-30 | Sunday | Laboratory | 51 | 23.8 | 17.4 | 19.3 | 40 | 100.5 | 13.5 | 87.1 | 13.38%
2026-08-30 | Sunday | Hostel | 48 | 24.6 | 20.7 | 23.4 | 30.4 | 99.1 | 8.9 | 90.1 | 9.019%
2026-08-30 | Sunday | Library/Admin | 26 | 15.8 | 10.3 | 12.7 | 12.2 | 51 | 6.1 | 44.9 | 12%

## Analysis
ANALYSIS — IMPORTANT ENERGY TRENDS
Total Before (kWh) |  | Total After (kWh) |  | Energy Saved (kWh) |  | Overall Saving (%)
11642.5 |  | 10180.1 |  | 1462.1 |  | 12.56%
Zone | Before (kWh) | After (kWh) | Saved (kWh) | Saving (%) | Interpretation
Classroom Block | 3320 | 2803.8 | 516.2 | 15.55% | Strong saving opportunity
Laboratory | 3113.8 | 2748.7 | 365.1 | 11.73% | Moderate saving opportunity
Hostel | 3454.6 | 3118.9 | 335.7 | 9.717% | Moderate saving opportunity
Library/Admin | 1754.1 | 1508.7 | 245.4 | 13.99% | Moderate saving opportunity
Energy Component | Total (kWh) | Share (%) | Engineering Meaning
Lighting | 3385.9 | 29.08% | Use occupancy + daylight sensing.
Fans | 2469.3 | 21.21% | Align runtime with occupancy.
HVAC | 2610.5 | 22.42% | Optimize schedules and setpoints.
Plug/Lab Loads | 3176.8 | 27.29% | Use priority-based control for critical equipment.
Date | Before (kWh) | After (kWh) | Saved (kWh) | Saving (%)
2026-08-01 | 349.7 | 309.2 | 40.5 | 11.58%
2026-08-02 | 331.1 | 286.7 | 44.4 | 13.41%
2026-08-03 | 396.5 | 343.8 | 52.7 | 13.29%
2026-08-04 | 417.6 | 367.4 | 50.2 | 12.02%
2026-08-05 | 412.1 | 361.7 | 50.4 | 12.23%
2026-08-06 | 407.2 | 351.6 | 55.6 | 13.65%
2026-08-07 | 390.9 | 343.1 | 47.8 | 12.23%
2026-08-08 | 366.1 | 319.6 | 46.5 | 12.7%
2026-08-09 | 348.9 | 309.2 | 39.7 | 11.38%
2026-08-10 | 427.9 | 376 | 51.9 | 12.13%
2026-08-11 | 408.9 | 357.2 | 51.7 | 12.64%
2026-08-12 | 388.2 | 344.5 | 43.7 | 11.26%
2026-08-13 | 406.1 | 354.9 | 51.2 | 12.61%
2026-08-14 | 419.5 | 363 | 56.5 | 13.47%
2026-08-15 | 336.4 | 290.9 | 45.5 | 13.53%
2026-08-16 | 338.3 | 296.7 | 41.6 | 12.3%
2026-08-17 | 405 | 359.1 | 45.9 | 11.33%
2026-08-18 | 419.7 | 366 | 53.7 | 12.79%
2026-08-19 | 406.9 | 358.6 | 48.3 | 11.87%
2026-08-20 | 408.8 | 353.6 | 55.2 | 13.5%
2026-08-21 | 422.9 | 370.6 | 52.3 | 12.37%
2026-08-22 | 350.6 | 302.7 | 47.9 | 13.66%
2026-08-23 | 352.9 | 307.8 | 45.1 | 12.78%
2026-08-24 | 420.2 | 370.3 | 49.9 | 11.88%
2026-08-25 | 401.8 | 350.4 | 51.4 | 12.79%
2026-08-26 | 408.1 | 352.4 | 55.7 | 13.65%
2026-08-27 | 405.3 | 356.7 | 48.6 | 11.99%
2026-08-28 | 404.4 | 356.4 | 48 | 11.87%
2026-08-29 | 343.5 | 297.8 | 45.7 | 13.3%
2026-08-30 | 347 | 302.2 | 44.8 | 12.91%

## Charts
VISUAL ANALYTICS — CAMPUS ENERGY SAVING SYSTEM

## Project Notes
PROJECT GUIDE — EXCEL PRESENTATION NOTES
Objective | Use campus energy data to identify waste, compare patterns and demonstrate automated energy control.
Excel flow | Sample Data → Analysis → Charts → Dashboard → Recommendation.
Bar graph | Compare energy consumption Before vs After Smart Control for each campus zone.
Line graph | Show daily energy trends and whether savings are consistent over time.
Pie chart | Show the share of energy used by lighting, fans, HVAC and plug/lab loads.
Strong trend | Compare occupancy with energy consumption. High energy at low occupancy indicates possible avoidable runtime.
KPIs | Total kWh, energy saved, saving %, peak kW, avoidable runtime and CO₂ avoided.
System link | PIR/LDR/temperature/meter data feeds an EMS; smart controls adjust lighting, fans and HVAC.
Presentation line | “We don't save energy by guesswork; we measure it, analyze it, automate it and verify the savings.”
Important data note | The workbook uses illustrative sample values because the actual numeric sample dataset was not available. Replace the Sample Data sheet with your real data before claiming measured results.